## Events
Cisco Prime Collaboration Manager 1.1 Supported Events
Revised Date: October 28, 2011
Event Code | Event Name | Severity | Description | Category | Associated Alarm Code | Negating Event
10002 | Manual Clear | Info | User to manually clear an alarm. | User | Any
10003 | Auto Clear | Info | Automatically clear the alarm after #par# hours of inactivity. | System | Any
20001 | Unreachable | Critical | Device is unreachable | Endpoint | 10000
20002 | Reachable | Info | Device is reachable | Endpoint, Service Infrastructure |  | 20001, 20017
20003 | Inaccessible | Major | Device is inaccessible | Endpoint | 10001
20004 | Accessible | Info | Device is reachable | Endpoint, Service Infrastructure |  | 20003, 20001, 20018
20005 | Interface Administrative Status Down | Minor | Interface administratorive status is down | Endpoint | 10002
20006 | Interface admin status up | Info | Interface administratorive status is up | Endpoint |  | 20005
20007 | Interface Operational Status Down | Major | Interface operational status is down | Endpoint | 10002
20008 | Interface Operational Status Up | Info | Interface operational status is up | Endpoint |  | 20007
20009 | Interface Discard Error | Minor |  | Endpoint | 10002
20010 | Interface Error Cleared | Info |  | Endpoint |  | 20009
20011 | Interface Discard Error | Minor | Interface discard error detected | Endpoint | 10002
20012 | Interface Discard Error Cleared | Info | Interface discard error cleared | Endpoint |  | 20010
20013 | Interface Drop Error | Minor | Interface drop error detected | Endpoint | 10002
20014 | Interface Discard Error Cleared | Info | Interface drop error cleared | Endpoint |  | 20013
20015 | Interface Utilization High Error | Minor | Interface utilization higher than 50% | Endpoint | 10002
20016 | Interface Utilization High Error Cleared | Info | Interface utilization back to normal | Endpoint |  | 20015
200017 | Unreachable | Critical | Device is unreachable | Service Infrastructure | 10000
200018 | Inaccessible | Major | Device is inaccessible | Service Infrastructure | 10001
30001 | Initialization error | Critical | CTS fails to initialize. | Endpoint | 20002
30002 | Initialization error cleared | Info | Initialization error cleared | Endpoint |  | 30001
30003 | Not registered | Major | Endpoint is unregistered | Endpoint | 20004
30004 | Registered | Info | Endpoint is registered | Endpoint |  | 30003,30028
30005 | Primary Camera Error | Major | Unable to detect primary camera. Camera is unplugged or not working | Endpoint | 20003
30006 | Camera Resetting | Major | Camera is resetting, call can't be made or received. | Endpoint | 20003
30007 | Camera In Good Status | Info | Camera is in good status | Endpoint |  | 30005,30006,30018,30019,30020,30021
30008 | Codec Error - Left | Major | Left Codec error detected | Endpoint | 20003
30009 | Codec Error Cleared | Info | Codec is in good status | Endpoint |  | 30008,300222,30023
30010 | Primary Display Error | Major | Display error detected | Endpoint | 20003
30011 | Display Error Cleared | Info | Display is in good status | Endpoint |  | 30010,30024,30025,30025,30026,30027
30012 | Phone Error | Major | Phone error detected | Endpoint | 20003
30013 | Phone Error Cleared | Info | Phone is in good status | Endpoint |  | 30012
30014 | Microphone Error | Minor | Microphone error detected | Endpoint | 20003
30015 | Microphone Error Cleared | Info | Microphone is in good status | Endpoint |  | 30014
30016 | Pheripheral Error | Minor | pheripheral error detected. | Endpoint | 20003
30017 | Pheripheral Error Cleared | Info | Peripheral is in good status | Endpoint |  | 30016
30018 | Secondary Camera Error - Left | Major | Unable to detect secondary left camera. Camera is unplugged or not working | Endpoint | 20003
30019 | Secondary Camera Error - Right | Major | Unable to detect right camera. Camera is unplugged or not working | Endpoint | 20003
30020 | Presentation Camera Error | Major | Unable to detect presentation camera. Camera is unplugged or not working | Endpoint | 20003
30021 | Auxiliary Camera Error | Major | Unable to detect auxiliary camera. Camera is unplugged or not working | Endpoint | 20003
30022 | Codec Error - Right | Major | Right codec error detected | Endpoint | 20003
30023 | Presentation Codec Error | Major | Presentation codec error detected | Endpoint | 20003
30024 | Secondary Display Error - Left | Major | Secondary left display error detected | Endpoint | 20003
30025 | Secondary Display Error - Right | Major | Secondary right display error detected | Endpoint | 20003
30026 | Presentation Display Error | Major | Presentation display error detected | Endpoint | 20003
30027 | Auxiliary Display Error | Major | Auxiliary display error detected | Endpoint | 20003
30028 | Not registered | Major | Server is unregistered | Service Infrastructure | 20004
40001 | Call started | Info | Call started | Session
40002 | Call ended | Info | Call ended. Clear call quality alarm for session #session_id# | Session |  | 40004, 40006, 40008
40003 | Call terminated | Critical | A TP session is terminated on this endpoint due to an error condition | Session | 30001 | 40004, 40006, 40008
40004 | Packet loss | Major | Packet loss detected from the Rx endpoint as above the % threshold (0.2%) | Session | 30002
40005 | Packet loss cleared | Info | Packet loss clear detected from the Rx endpoint as below the % threshold. | Session |  | 40004
40006 | Jitter | Major | High jitter detected from the Rx endpoint as above the millisec threshold (50 ms) | Session | 30003
40007 | Jitter cleared | Info | High jitter detected from the Rx endpoint as above the millisec threshold. | Session |  | 40006
40008 | Latency | Major | High jitter detected from the Rx endpoint as above the millisec threshold (200 ms) | Session | 30004
40009 | Latency cleared | Info | High jitter detected from the Rx endpoint as below the millisec threshold (200 ms) | Session |  | 40008
40010 | Service down | Major | Service (name) is down | Service Infrastructure, Endpoint | 20001
40011 | Service up | Info | Service (name) is up | Service Infrastructure, Endpoint |  | 40010, 40016
40012 | Resource low | Major | Resource (name) is low | Service Infrastructure, Endpoint | 20005
40013 | Resource normal | Info | Resource (name) is normal | Service Infrastructure, Endpoint |  | 40012
40014 | Zone is not active | Major | Zone is not active | Service Infrastructure | 30016
40015 | Zone is active | Major | Zone is active | Service Infrastructure |  | 40014
40016 | Service down | Major | Service is down | Service Infrastructure
40101 | Fan status error | Major | Fan status error | Service Infrastructure | 30100
40102 | Fan status ok | Major | Fan status ok | Service Infrastructure |  | 40101
40103 | Battery status error | Major | Battery status error | Service Infrastructure | 30100
40104 | Battery status ok | Major | Battery status ok | Service Infrastructure |  | 40103
40105 | Temperature status error | Major | Temperature status error | Service Infrastructure | 30100
40106 | Temperature status ok | Major | Temperature status ok | Service Infrastructure |  | 40105
40107 | Voltages status error | Major | Voltages status error | Service Infrastructure | 30100
40108 | Voltages status ok | Major | Voltages status ok | Service Infrastructure |  | 40107
40109 | Operational status warning | Major | Operational status warning | Service Infrastructure | 30200
40110 | Operational status ok | Major | Operational status ok | Service Infrastructure |  | 40109
50001 | Cluster Replication Error 01 | Info | Cluster replication error | Service Infrastructure | 30005
50002 | Cluster Replication Error 01 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50001
50003 | Cluster Replication Error 02 | Minor | Cluster replication error | Service Infrastructure | 30005
50004 | Cluster Replication Error 02 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50003
50005 | Cluster Replication Error 03 | Minor | Cluster replication error | Service Infrastructure | 30005
50006 | Cluster Replication Error 03 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50005
50007 | Cluster Replication Error 04 | Minor | Cluster replication error | Service Infrastructure | 30005
50008 | Cluster Replication Error 04 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50007
50009 | Cluster Replication Error 05 | Minor | Cluster replication error | Service Infrastructure | 30005
50010 | Cluster Replication Error 05 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50009
50011 | Cluster Replication Error 06 | Minor | Cluster replication error | Service Infrastructure | 30005
50012 | Cluster Replication Error 06 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50011
50013 | Cluster Replication Error 07 | Minor | Cluster replication error | Service Infrastructure | 30005
50014 | Cluster Replication Error 07 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50013
50015 | Cluster Replication Error 08 | Minor | Cluster replication error | Service Infrastructure | 30005
50016 | Cluster Replication Error 08 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50015
50017 | Cluster Replication Error 09 | Minor | Cluster replication error | Service Infrastructure | 30005
50018 | Cluster Replication Error 09 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50017
50019 | Cluster Replication Error 10 | Minor | Cluster replication error | Service Infrastructure | 30005
50020 | Cluster Replication Error 10 Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50019
50021 | Hardware Failure 01 | Major | Hardware failure | Service Infrastructure | 30006
50022 | Hardware Failure 01 Cleared | Info | Hardware failure cleared | Service Infrastructure |  | 50021
50023 | Hardware Failure 02 | Major | Hardware failure | Service Infrastructure | 30006
50024 | Hardware Failure 02 Cleared | Info | Hardware failure cleared | Service Infrastructure |  | 50024
50025 | Hardware Failure 03 | Major | Hardware failure | Service Infrastructure | 30006
50026 | Hardware Failure 03 Cleared | Info | Hardware failure cleared | Service Infrastructure |  | 50025
50027 | Hardware Failure 04 | Major | Hardware failure | Service Infrastructure | 30006
50028 | Hardware Failure 04 Cleared | Info | Hardware failure cleared | Service Infrastructure |  | 50027
50029 | Capacity License Warning 01 | Major | Capacity License Warning | Service Infrastructure | 30007
50030 | Capacity License Warning 01 Cleared | Info | Capacity License Warning cleared | Service Infrastructure |  | 50029
50031 | Capacity License Warning 02 | Major | Capacity License Warning | Service Infrastructure | 30007
50032 | Capacity License Warning 02 Cleared | Info | Capacity License Warning cleared | Service Infrastructure |  | 50031
50033 | Capacity License Warning 03 | Major | Capacity License Warning | Service Infrastructure | 30007
50034 | Capacity License Warning 03 Cleared | Info | Capacity License Warning cleared | Service Infrastructure |  | 50033
50035 | Capacity License Warning 04 | Major | Capacity License Warning | Service Infrastructure | 30007
50036 | Capacity License Warning 04 Cleared | Info | Capacity License Warning cleared | Service Infrastructure |  | 50035
50037 | Capacity License Warning 05 | Major | Capacity License Warning | Service Infrastructure | 30007
50038 | Capacity License Warning 05 Cleared | Info | Capacity License Warning cleared | Service Infrastructure |  | 50037
50039 | Capacity License Warning 06 | Major | Capacity License Warning | Service Infrastructure | 30007
50040 | Capacity License Warning 06 Cleared | Info | Capacity License Warning cleared | Service Infrastructure |  | 50039
50041 | Capacity License Warning 07 | Major | Capacity License Warning | Service Infrastructure | 30007
50042 | Capacity License Warning 07 Cleared | Info | Capacity License Warning cleared | Service Infrastructure |  | 50041
50043 | NTP Server Warning | Major | NTP Server Warning | Service Infrastructure | 30008
50044 | NTP Server Warning Cleared | Info | Cluster replication error cleared | Service Infrastructure |  | 50043
50045 | Call Policy File | Minor | Failed to load Call Policy file | Service Infrastructure | 30009
50046 | Call Policy File Cleared | Info | Failed to load Call Policy file - cleared | Service Infrastructure |  | 50045
50047 | Cluster Communication Failure | Critical | Cluster communication failure | Service Infrastructure | 30013
50048 | Cluster Communication Failure Cleared | Info | Cluster communication failure cleared | Service Infrastructure |  | 50047
50049 | Database Failure 01 | Critical | Database failure | Service Infrastructure | 30010
50050 | Database Failure 01 Cleared | Info | Database failure cleared | Service Infrastructure |  | 50049
50051 | Database Failure 02 | Critical | Database failure | Service Infrastructure | 30010
50052 | Database Failure 02 Cleared | Info | Database failure cleared | Service Infrastructure |  | 50051
50053 | Database Failure 03 | Critical | Database failure | Service Infrastructure | 30010
50054 | Database Failure 03 Cleared | Info | Database failure cleared | Service Infrastructure |  | 50053
50055 | Uncontrolled Shutdown | Minor | Uncontrolled shutdown detected | Service Infrastructure | 30011
50056 | Uncontrolled Shutdown Cleared | Info | Uncontrolled shutdown detected - cleared | Service Infrastructure |  | 50055
50057 | Application Failure 01 | Critical | Application failure | Service Infrastructure | 30012
50058 | Application Failure 01 Cleared | Info | Application failure cleared | Service Infrastructure |  | 50057
50059 | Application Failure 02 | Critical | Application failure | Service Infrastructure | 30012
50060 | Application Failure 02 Cleared | Info | Application failure cleared | Service Infrastructure |  | 50059
50061 | Application Failure 03 | Critical | Application failure | Service Infrastructure | 30012
50062 | Application Failure 03 Cleared | Info | Application failure cleared | Service Infrastructure |  | 50061
60101 | Blade in critical conditions | Major | Blade is in critical conditions | Service Infrastructure | 30201
60102 | Blade status ok | Info | Blade status ok | Service Infrastructure |  | 60101
60103 | Supervisor fan tray problem | Major | Supervisor fan tray problem | Service Infrastructure | 30202
60104 | Supervisor fan tray OK | Info | Supervisor fan tray ok | Service Infrastructure |  | 60103
60105 | Supervisor power shelf fault | Major | Supervisor power shelf fault | Service Infrastructure | 30203
60106 | Supervisor power shelf fault OK | Info | Supervisor power shelf fault ok | Service Infrastructure |  | 60105
60107 | Supervisor voltage problem | Major | Supervisor voltage problem | Service Infrastructure | 30204
60108 | Supervisor voltage problem ok | Info | Supervisor voltage problem ok | Service Infrastructure |  | 60107

## Alarms
Cisco Prime Collaboration Manager 1.1 Supported Alarms
Revised Date: October 28, 2011
Alarm Code | Alarm Name | Description | Category | Severity | Triggered By
10000 | Device Unreachable | Unable to reach the device #source# | Endpoint, Service Infrastructure | Minor | event 20001, 20017
10001 | Device Inaccessible | Unable to access the device (name) | Endpoint, Service Infrastructure | Minor | event 20001, 20003
10002 | Interface Error | Interface #displayName# error on device #source# | Endpoint | Minor | event 20005, 20007, 20009, 20011, 20013, 20015
20001 | Service Infrastructure Error | Service Infrastructure #source# Error | Service Infrastructure | Critical | event 40010, 40016
20002 | CTS Malfunction | CTS #source# malfunction. Telepresence call may not work | Endpoint | Major | event 30001
20003 | Telepresence endpoint Peripheral Error | Telepresence endpoint peripheral #displayName# error on device #source# | Endpoint | Major | event 30005, 30006, 30008, 30010, 30012, 30014, 30016,30018-30027
20004 | Endpoint Unregistered | Telepresence endpoint #displayName# is unregistered | Endpoint, Service Infrastructure | Major | event 30003, 30028
20005 | Resource Low | System resource is low on device #source# | Endpoint,Service Infrastructure | Major | event 40012
30002 | Call Quality - Packet Loss | Call quality alarm, packet loss above threshold | Session | Info | event 40004
30003 | Call Quality - Jitter | Call quality alarm, jitter above threshold | Session | Info | event 40006
30004 | Call Quality - Latency | Call quality alarm, latency above threshold | Session | Info | event 40008
30005 | Cluster replication error | Cluster replication error | Service Infrastructure | Minor | event 50001,50003,50005,50007,50009,50011,50013,50015,50017,50019
30006 | Hardware failure | Hardware failure | Service Infrastructure | Major | event 50021,50023,50025,50027
30007 | Capacity and license warning | Capacity and license warning | Service Infrastructure | Major | event 50029,50031,50033
30008 | NTP server warning | NTP server warning | Service Infrastructure | Major | event 50043
30009 | Failed to load Call Policy file | Failed to load Call Policy file | Service Infrastructure | Minor | event 50045
30010 | Database failure | Database failure | Service Infrastructure | Critical | event 50049,50051,50053
30011 | Uncontrolled shutdown detected | Uncontrolled shutdown detected | Service Infrastructure | Minor | event 50055
30012 | Application failure | Application failure | Service Infrastructure | Critical | event 50057,50059,50061
30013 | Cluster communication failure | Cluster communication failure | Service Infrastructure | Critical | event 50047
30015 | TMS service warning | TMS service warning | Service Infrastructure | Minor | event
30016 | Zone is not active | Zone is not active | Service Infrastructure | Minor | event 40014
30100 | Environment error | Environment error | Service Infrastructure | Major | event 40101,40103,40105,40107
30200 | Operational status warning | Operational status warning | Service Infrastructure | Major | event 40109
30201 | Blade in critical conditions | Blade in critical conditions | Service Infrastructure | Major | event 60101
30202 | Supervisor fan tray problem | Supervisor fan tray problem | Service Infrastructure | Major | event 60103
30203 | Supervisor power shelf fault | Supervisor power shelf fault | Service Infrastructure | Major | event 60105
30204 | Supervisor voltage problem | Supervisor voltage problem | Service Infrastructure | Major | event 60107